## VAV
equipment_name | point_name | Niagara_Point_tag | Remark | SQL Query
VAV_1 | return_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_return_air_temperature_sensor/VAV_1_return_air_temperature_sensor |  | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('return_air_temperature_sensor');
VAV_1 | return_air_temperature_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_return_air_temperature_setpoint/VAV_1_return_air_temperature_setpoint | Read & write access | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('return_air_temperature_setpoint');
VAV_1 | cooling_air_damper_percentage_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_cooling_air_damper_percentage_sensor/VAV_1_cooling_air_damper_percentage_sensor |  | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('cooling_air_damper_percentage_sensor');
VAV_1 | cooling_air_flowrate_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_cooling_air_flowrate_sensor/VAV_1_cooling_air_flowrate_sensor |  | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('cooling_air_flowrate_sensor');
VAV_1 | min_cooling_air_flowrate_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_min_cooling_air_flowrate_setpoint/VAV_1_min_cooling_air_flowrate_setpoint | Read-only | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('min_cooling_air_flowrate_setpoint');
VAV_1 | max_cooling_air_flowrate_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/VAV_1_max_cooling_air_flowrate_setpoint/VAV_1_max_cooling_air_flowrate_setpoint | Read-only | SELECT * FROM point WHERE point_name IN ('VAV_1') and equipment_name IN ('max_cooling_air_flowrate_setpoint');
Remark
Variable Air Volume
For the number of equipment, refer to master equipment list

## VAV-AHU
equipment_name | point_name | Niagara_Point_tag | Remark 1 | SQL Query
AHU_10 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_run_status/AHU_10_run_status |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('run_status');
AHU_10 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_device_fault_status/AHU_10_device_fault_status |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('device_fault_status');
AHU_10 | supply_fan_speed_percentage_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_supply_fan_speed_percentage_sensor/AHU_10_supply_fan_speed_percentage_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('supply_fan_speed_percentage_sensor');
AHU_10 | uv_filter_run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_uv_filter_run_status/AHU_10_uv_filter_run_status |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('uv_filter_run_status');
AHU_10 | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_filter_alarm_status/AHU_10_filter_alarm_status |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('filter_alarm_status');
AHU_10 | outside_air_damper_percentage_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_outside_air_damper_percentage_sensor/AHU_10_outside_air_damper_percentage_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('outside_air_damper_percentage_sensor');
AHU_10 | chilled_supply_water_flowrate_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_chilled_supply_water_flowrate_sensor/AHU_10_chilled_supply_water_flowrate_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('chilled_supply_water_flowrate_sensor');
AHU_10 | chilled_supply_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_chilled_supply_water_temperature_sensor/AHU_10_chilled_supply_water_temperature_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('chilled_supply_water_temperature_sensor');
AHU_10 | chilled_return_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_chilled_return_water_temperature_sensor/AHU_10_chilled_return_water_temperature_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('chilled_return_water_temperature_sensor');
AHU_10 | zone_air_co2_concentration_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_zone_air_co2_concentration_sensor/AHU_10_zone_air_co2_concentration_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('zone_air_co2_concentration_sensor');
AHU_10 | zone_air_co2_concentration_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_zone_air_co2_concentration_setpoint/AHU_10_zone_air_co2_concentration_setpoint | Read-only | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('zone_air_co2_concentration_setpoint');
AHU_10 | return_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_return_air_temperature_sensor/AHU_10_return_air_temperature_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('return_air_temperature_sensor');
AHU_10 | supply_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_supply_air_temperature_sensor/AHU_10_supply_air_temperature_sensor |  | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('supply_air_temperature_sensor');
AHU_10 | supply_air_temperature_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/AHU_10_supply_air_temperature_setpoint/AHU_10_supply_air_temperature_setpoint | Read-only | SELECT * FROM point WHERE point_name IN ('AHU_10') and equipment_name IN ('supply_air_temperature_setpoint');
Remark
Landlord AHU
For the number of equipment, refer to master equipment list

## PAHU
equipment_name | point_name | Controllers | GUID | Eng Unit | Remark 2 | Remark 3 | SQL Query
AHU_1 | run_status | sg-mbc2-b80-ddc-10-10 | guid1 | eng1 | Level 11 kitchen | On/Off Status | SELECT * FROM point WHERE point_name IN ('AHU_1') and equipment_name IN ('run_status');
AHU_1 | low_speed_fan_status | sg-mbc2-b80-ddc-10-11 | guid2 | eng2 | Level 11 kitchen | Fan Low Speed Status | SELECT * FROM point WHERE point_name IN ('AHU_1') and equipment_name IN ('low_speed_fan_status');
AHU_1 | high_speed_fan_status | sg-mbc2-b80-ddc-10-12 | guid3 | eng3 | Level 11 kitchen | Fan High Speed Status | SELECT * FROM point WHERE point_name IN ('AHU_1') and equipment_name IN ('high_speed_fan_status');
AHU_1 | high_speed_fan_status | sg-mbc2-b80-ddc-10-12 | guid3 | eng3 | Level 11 kitchen | Fan High Speed Status
AHU_2 | device_fault_status | sg-mbc2-b80-ddc-10-13 | guid4 | eng4 | Level 11 kitchen | Trip Alarm | SELECT * FROM point WHERE point_name IN ('AHU_2') and equipment_name IN ('device_fault_status');
AHU_2 | water_leak_alarm_status | sg-mbc2-b80-ddc-10-13 | guid5 | eng5 | Level 11 kitchen | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('AHU_2') and equipment_name IN ('water_leak_alarm_status');

## IDF FCU
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FCU_14 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_run_command |  | Level 11 IDF Room | Start Control | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('run_command');
FCU_14 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_run_command |  | Level 11 IDF Room | Stop Control | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('run_command');
FCU_14 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_run_status |  | Level 11 IDF Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('run_status');
FCU_14 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_device_fault_status |  | Level 11 IDF Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('device_fault_status');
FCU_14 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_mode |  | Level 11 IDF Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('mode');
FCU_14 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_mode |  | Level 11 IDF Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('mode');
FCU_14 | water_leak_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_water_leak_alarm_status |  | Level 11 IDF Room | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('water_leak_alarm_status');
FCU_14 | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_filter_alarm_status |  | Level 11 IDF Room | Filter Alarm | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('filter_alarm_status');
FCU_14 | chilled_return_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_chilled_return_water_temperature_sensor |  | Level 11 IDF Room | CHWR Temperature | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('chilled_return_water_temperature_sensor');
FCU_14 | chilled_supply_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_chilled_supply_water_temperature_sensor |  | Level 11 IDF Room | CHWSTemperature | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('chilled_supply_water_temperature_sensor');
FCU_14 | chilled_water_valve_percentage_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_chilled_water_valve_percentage_command |  | Level 11 IDF Room | CHW Valve Control | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('chilled_water_valve_percentage_command');
FCU_14 | supply_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_supply_air_damper_status |  | Level 11 IDF Room | Damper Status | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('supply_air_damper_status');
FCU_14 | supply_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_supply_air_temperature_sensor |  | Level 11 IDF Room | SA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('supply_air_temperature_sensor');
FCU_14 | return_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_return_air_temperature_sensor | Shared point with FCU 15, due to duct design | Level 11 IDF Room | RA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('return_air_temperature_sensor');
FCU_14 | zone_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_zone_air_temperature_sensor | Shared point with FCU 15, due to room design | Level 11 IDF Room | Room Temperature | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('zone_air_temperature_sensor');
FCU_14 | zone_air_relative_humidity_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_14_zone_air_relative_humidity_sensor | Shared point with FCU 15, due to room design | Level 11 IDF Room | Room Relative Humidity | SELECT * FROM point WHERE point_name IN ('FCU_14') and equipment_name IN ('zone_air_relative_humidity_sensor');
FCU_15 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_run_command |  | Level 11 IDF Room | Start Control | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('run_command');
FCU_15 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_run_command |  | Level 11 IDF Room | Stop Control | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('run_command');
FCU_15 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_run_status |  | Level 11 IDF Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('run_status');
FCU_15 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_device_fault_status |  | Level 11 IDF Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('device_fault_status');
FCU_15 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_mode |  | Level 11 IDF Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('mode');
FCU_15 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_mode |  | Level 11 IDF Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('mode');
FCU_15 | water_leak_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_water_leak_alarm_status |  | Level 11 IDF Room | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('water_leak_alarm_status');
FCU_15 | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_filter_alarm_status |  | Level 11 IDF Room | Filter Alarm | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('filter_alarm_status');
FCU_15 | chilled_return_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_chilled_return_water_temperature_sensor |  | Level 11 IDF Room | CHWR Temperature | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('chilled_return_water_temperature_sensor');
FCU_15 | chilled_supply_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_chilled_supply_water_temperature_sensor |  | Level 11 IDF Room | CHWSTemperature | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('chilled_supply_water_temperature_sensor');
FCU_15 | chilled_water_valve_percentage_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_chilled_water_valve_percentage_command |  | Level 11 IDF Room | CHW Valve Control | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('chilled_water_valve_percentage_command');
FCU_15 | supply_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_supply_air_damper_status |  | Level 11 IDF Room | Damper Status | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('supply_air_damper_status');
FCU_15 | supply_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_15_supply_air_temperature_sensor |  | Level 11 IDF Room | SA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_15') and equipment_name IN ('supply_air_temperature_sensor');
Remark
IDF Room FCU group
For the number of equipment, refer to master equipment list

## PFCU
equipment_name | controllerName | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FCU_101 |  | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_run_status |  | Level 11 PFCU to FCU | On/Off Status | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('run_status');
FCU_101 |  | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_device_fault_status |  | Level 11 PFCU to FCU | Trip Alarm | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('device_fault_status');
FCU_101 |  | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_mode |  | Level 11 PFCU to FCU | Auto Mode | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('mode');
FCU_101 |  | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_mode |  | Level 11 PFCU to FCU | Manual Mode | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('mode');
FCU_101 |  | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_filter_alarm_status |  | Level 11 PFCU to FCU | Filter Alarm | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('filter_alarm_status');
FCU_101 |  | water_leak_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_water_leak_alarm_status |  | Level 11 PFCU to FCU | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('water_leak_alarm_status');
FCU_101 |  | fan_speed_percentage_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_fan_speed_percentage_command | Shared point with FCU 102, due to design | Level 11 PFCU to FCU | VSD Control | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('fan_speed_percentage_command');
FCU_101 |  | chilled_water_valve_percentage_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_chilled_water_valve_percentage_command | Shared point with FCU 102, due to design | Level 11 PFCU to FCU | CHW Valve Control | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('chilled_water_valve_percentage_command');
FCU_101 |  | supply_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_temperature_sensor | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_temperature_sensor');
FCU_101 |  | supply_air_temperature_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_temperature_setpoint | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Temperature SP | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_temperature_setpoint');
FCU_101 |  | supply_air_flow_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_flow_status | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Flow Status | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_flow_status');
FCU_101 |  | suppy_air_linearvelocity_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_suppy_air_linearvelocity_sensor | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Flow Velocity | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('suppy_air_linearvelocity_sensor');
FCU_101 |  | supply_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_damper_status | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | Damper Status | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_damper_status');
FCU_101 |  | supply_air_static_pressure_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_static_pressure_sensor | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Pressure | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_static_pressure_sensor');
FCU_101 |  | supply_air_static_pressure_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_supply_air_static_pressure_setpoint | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | SA Pressure SP | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('supply_air_static_pressure_setpoint');
FCU_101 |  | outside_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_101_outside_air_temperature_sensor | Shared point with FCU 102, due to duct design | Level 11 PFCU to FCU | OA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_101') and equipment_name IN ('outside_air_temperature_sensor');
FCU_102 |  | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_run_status |  | Level 11 PFCU to FCU | On/Off Status | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('run_status');
FCU_102 |  | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_device_fault_status |  | Level 11 PFCU to FCU | Trip Alarm | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('device_fault_status');
FCU_102 |  | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_mode |  | Level 11 PFCU to FCU | Auto Mode | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('mode');
FCU_102 |  | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_mode |  | Level 11 PFCU to FCU | Manual Mode | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('mode');
FCU_102 |  | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_filter_alarm_status |  | Level 11 PFCU to FCU | Filter Alarm | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('filter_alarm_status');
FCU_102 |  | water_leak_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_102_water_leak_alarm_status |  | Level 11 PFCU to FCU | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('FCU_102') and equipment_name IN ('water_leak_alarm_status');
Remark
Pre_cool FCU
For the number of equipment, refer to master equipment list

## FCU
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FCU_1 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_run_command |  | Level 11 Meeting Room | Start/Stop Control | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('run_command');
FCU_1 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_run_status |  | Level 11 Meeting Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('run_status');
FCU_1 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_device_fault_status |  | Level 11 Meeting Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('device_fault_status');
FCU_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_mode |  | Level 11 Meeting Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('mode');
FCU_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_mode |  | Level 11 Meeting Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('mode');
FCU_1 | filter_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_filter_alarm_status |  | Level 11 Meeting Room | Filter Alarm | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('filter_alarm_status');
FCU_1 | water_leak_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_water_leak_alarm_status |  | Level 11 Meeting Room | Water Leakage Alarm | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('water_leak_alarm_status');
FCU_1 | chilled_water_valve_percentage_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_chilled_water_valve_percentage_command |  | Level 11 Meeting Room | CHW Valve Control | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('chilled_water_valve_percentage_command');
FCU_1 | supply_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_supply_air_temperature_sensor |  | Level 11 Meeting Room | SA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('supply_air_temperature_sensor');
FCU_1 | return_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_return_air_temperature_sensor |  | Level 11 Meeting Room | RA Temperature | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('return_air_temperature_sensor');
FCU_1 | return_air_temperature_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_return_air_temperature_setpoint |  | Level 11 Meeting Room | RA Temperature SP | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('return_air_temperature_setpoint');
FCU_1 | cooling_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FCU_1_cooling_air_damper_status |  | Level 11 Meeting Room | Pre_cooled Air Damper Status | SELECT * FROM point WHERE point_name IN ('FCU_1') and equipment_name IN ('cooling_air_damper_status');
Remark
FCU (Fan Coil Unit)
For the number of equipment, refer to master equipment list

## IDF TF
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
TF_1 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_run_command |  | Level 11 IDF Room | Start/Stop Control | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('run_command');
TF_1 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_run_status |  | Level 11 IDF Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('run_status');
TF_1 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_device_fault_status |  | Level 11 IDF Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('device_fault_status');
TF_1 | device_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_device_alarm_status |  | Level 11 IDF Room | Fail to Start Alarm | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('device_alarm_status');
TF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_mode |  | Level 11 IDF Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('mode');
TF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_mode |  | Level 11 IDF Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('mode');
TF_1 | supply_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_1_supply_air_damper_status |  | Level 11 IDF Room | Damper Status | SELECT * FROM point WHERE point_name IN ('TF_1') and equipment_name IN ('supply_air_damper_status');
Remark
IDF Room Transfer Air Fan
For the number of equipment, refer to master equipment list

## AV TF
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
TF_2 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_run_command |  | Level 11 AV Room | Start/Stop Control | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('run_command');
TF_2 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_run_status |  | Level 11 IDF Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('run_status');
TF_2 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_device_fault_status |  | Level 11 IDF Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('device_fault_status');
TF_2 | device_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_device_alarm_status |  | Level 11 IDF Room | Fail to Start Alarm | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('device_alarm_status');
TF_2 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_mode |  | Level 11 IDF Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('mode');
TF_2 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_mode |  | Level 11 IDF Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('mode');
TF_2 | supply_air_damper_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_supply_air_damper_status |  | Level 11 IDF Room | Damper Status | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('supply_air_damper_status');
TF_2 | zone_air_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_zone_air_temperature_sensor |  | Level 11 IDF Room | RM Temperature | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('zone_air_temperature_sensor');
TF_2 | zone_air_temperature_setpoint | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/TF_2_zone_air_temperature_setpoint |  | Level 11 IDF Room | RM Temperature SP | SELECT * FROM point WHERE point_name IN ('TF_2') and equipment_name IN ('zone_air_temperature_setpoint');
Remark
AV Room Transfer Air Fan
For the number of equipment, refer to master equipment list

## EAF
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
EF_1 | run_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_run_command |  | Level 11 IDF Room | Start/Stop Control | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('run_command');
EF_1 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_run_status |  | Level 11 IDF Room | On/Off Status | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('run_status');
EF_1 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_device_fault_status |  | Level 11 IDF Room | Trip Alarm | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('device_fault_status');
EF_1 | device_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_device_alarm_status |  | Level 11 IDF Room | Fail to Start Alarm | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('device_alarm_status');
EF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_mode |  | Level 11 IDF Room | Auto Mode | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('mode');
EF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EF_1_mode |  | Level 11 IDF Room | Manual Mode | SELECT * FROM point WHERE point_name IN ('EF_1') and equipment_name IN ('mode');
Remark
Exhaust Fan
For the number of equipment, refer to master equipment list

## KEAF
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
KEF_1 | low_exhaust_fan_speed_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_low_exhaust_fan_speed_command |  | Level 11 Kitchen | Low Speed Control | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('low_exhaust_fan_speed_command');
KEF_1 | high_exhaust_fan_speed_command | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_high_exhaust_fan_speed_command |  | Level 11 Kitchen | High Speed Control | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('high_exhaust_fan_speed_command');
KEF_1 | low_speed_fan_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_low_speed_fan_status |  | Level 11 Kitchen | Fan Low Speed Status | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('low_speed_fan_status');
KEF_1 | high_speed_fan_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_high_speed_fan_status |  | Level 11 Kitchen | Fan High Speed Status | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('high_speed_fan_status');
KEF_1 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_device_fault_status |  | Level 11 Kitchen | Trip Alarm | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('device_fault_status');
KEF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_mode |  | Level 11 Kitchen | Auto Mode | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('mode');
KEF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_mode |  | Level 11 Kitchen | Manual Low Mode | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('mode');
KEF_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_mode |  | Level 11 Kitchen | Manual High Mode | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('mode');
KEF_1 | exhaust_fan_speed_frequency_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/KEF_1_exhaust_fan_speed_frequency_sensor |  | Level 11 Kitchen | VSD Feedback | SELECT * FROM point WHERE point_name IN ('KEF_1') and equipment_name IN ('exhaust_fan_speed_frequency_sensor');
Remark
Kitchen Exhaust Fan
For the number of equipment, refer to master equipment list

## ESP
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
PCU_1 | run_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/PCU_1_run_status |  | Level 11 Kitchen | On/Off Status | SELECT * FROM point WHERE point_name IN ('PCU_1') and equipment_name IN ('run_status');
PCU_1 | device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/PCU_1_device_fault_status |  | Level 11 Kitchen | Trip Alarm | SELECT * FROM point WHERE point_name IN ('PCU_1') and equipment_name IN ('device_fault_status');
PCU_1 | mode | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/PCU_1_mode | Shared point with PCU_1, 2, 3 & 4 | Level 11 Kitchen | Auto Mode | SELECT * FROM point WHERE point_name IN ('PCU_1') and equipment_name IN ('mode');
Remark
Electrostatic Precipitator
For the number of equipment, refer to master equipment list

## VESDA
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
SD_1 | fire_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/SD_1_fire_alarm_status |  | Level 11 IDF Room | Fire Alarm | SELECT * FROM point WHERE point_name IN ('SD_1') and equipment_name IN ('fire_alarm_status');
SD_1 | fire_device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/SD_1_fire_device_fault_status |  | Level 11 IDF Room | Fault Alarm | SELECT * FROM point WHERE point_name IN ('SD_1') and equipment_name IN ('fire_device_fault_status');
Remark
VESDA (Very Early Smoke Detector Alarm)
For the number of equipment, refer to master equipment list

## FC
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FSUP_1 | fire_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FSUP_1_fire_alarm_status |  | Level 11 Internal Staircase | Fire Alarm | SELECT * FROM point WHERE point_name IN ('FSUP_1') and equipment_name IN ('fire_alarm_status');
FSUP_1 | fire_device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FSUP_1_fire_device_fault_status |  | Level 11 Internal Staircase | Fault Alarm | SELECT * FROM point WHERE point_name IN ('FSUP_1') and equipment_name IN ('fire_device_fault_status');
Remark
FC (Fire Curtain)
For the number of equipment, refer to master equipment list

## FACP
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FACP_8 | fire_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FACP_8_fire_alarm_status |  | General Office Fire Alarm L11 | Fire Alarm | SELECT * FROM point WHERE point_name IN ('FACP_8') and equipment_name IN ('fire_alarm_status');
Remark
FACP (Fire Alarm Control Panel)
For the number of equipment, refer to master equipment list

## PA
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
FACP_1 | fire_alarm_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FACP_1_fire_alarm_status |  | Level 11 IDF Room | Fire Alarm | SELECT * FROM point WHERE point_name IN ('FACP_1') and equipment_name IN ('fire_alarm_status');
FACP_1 | fire_device_fault_status | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/FACP_1_fire_device_fault_status |  | Level 11 IDF Room | Fault Alarm | SELECT * FROM point WHERE point_name IN ('FACP_1') and equipment_name IN ('fire_device_fault_status');
Remark
PA (Pre_Action Alarm)
For the number of equipment, refer to master equipment list

## BTU
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
HM_1 | chilled_return_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/HM_1_chilled_return_water_temperature_sensor |  | Level 11 AHU_10 Room | CHWR Temperature | SELECT * FROM point WHERE point_name IN ('HM_1') and equipment_name IN ('chilled_return_water_temperature_sensor');
HM_1 | chilled_supply_water_temperature_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/HM_1_chilled_supply_water_temperature_sensor |  | Level 11 AHU_10 Room | CHWSTemperature | SELECT * FROM point WHERE point_name IN ('HM_1') and equipment_name IN ('chilled_supply_water_temperature_sensor');
HM_1 | chilled_supply_water_flowrate_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/HM_1_chilled_supply_water_flowrate_sensor |  | Level 11 AHU_10 Room | CHW Flowrate | SELECT * FROM point WHERE point_name IN ('HM_1') and equipment_name IN ('chilled_supply_water_flowrate_sensor');
HM_1 | energy_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/HM_1_energy_sensor |  | Level 11 AHU_10 Room | Energy RTH | SELECT * FROM point WHERE point_name IN ('HM_1') and equipment_name IN ('energy_sensor');
Remark
BTU Meter / HM (Heat Meter)
For the number of equipment, refer to master equipment list

## WM
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
WM_1 | flowrate_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/WM_1_flowrate_sensor |  | Level 11 AHU_10 Room | Water Consumption m3 | SELECT * FROM point WHERE point_name IN ('WM_1') and equipment_name IN ('flowrate_sensor');
Remark
WM (Water Meter)
For the number of equipment, refer to master equipment list

## EM
equipment_name | point_name | Niagara_Point_tag | Remark 1 | Remark 2 | Remark 3 | SQL Query
EM_1 | power_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EM_1_power_sensor | DB_B80/11.KIT | Level 11 Power Meter | Active Power kW | SELECT * FROM point WHERE point_name IN ('EM_1') and equipment_name IN ('power_sensor');
EM_1 | energy_sensor | station:¦slot:/Drivers/RdbmsNetwork/MySQLDatabase/points/EM_1_energy_sensor | DB_B80/11.KIT | Level 11 Power Meter | Energy Consumption kWh | SELECT * FROM point WHERE point_name IN ('EM_1') and equipment_name IN ('energy_sensor');
Remark
Power Meter / EM (Electrical Meter)
For the number of equipment, refer to master equipment list